# Scitech - EKIUM Sterilisation Mapping Readiness Checklist

Complete prior to study.

Use for scoping and pre-study alignment (dimensions, setpoint/range, products/label claims, loads, door use, monitoring, power/alarms, safety/permits, seasonal window).

Includes pre-study tick-boxes for drawings/HVAC/calibration/data integrity/challenges/approvals.

## Site & Asset Details

[ ] Company:

[ ] Site / Address:

[ ] Contact name,role and mobile number:

[ ] Equipment type Autoclave [ ], Oven[ ], Depyro Tunnel[ ] /] Approx. L x W x H (m) and volume m3):

[ ] Speed of belt if applicable:

[ ] Number of Recipes/loads/formats/dwell time:

[ ] Empty chamber test required

[ ] Setpoint and Tolerance (deg C):

[ ] Equipment availability:

[ ] Production staff assistance availability

[ ] Current monitoring system (manufacturer/model):

[ ] Available calibrated loggers (qty):

[ ] Backup power/UPS and alarm response:

[ ] Access/permits:

[ ] Shift patterns/escort requirements:

## Pre-study checks (tick or comment)

[ ] Are load patterns available

[ ] Time synchronisation method confirmed

[ ] Part 11 / data integrity controls agreed

Note: Acceptance criteria must align to product labels and risk assessment. This checklist does not replace a protocol.