# Scitech - EKIUM Warehouse Mapping Readiness Checklist

Complete prior to study.

Use for scoping and pre-study alignment (dimensions, setpoint/range, products/label claims, loads, door use, monitoring, power/alarms, safety/permits, seasonal window).

Includes pre-study tick-boxes for drawings/HVAC/calibration/data integrity/challenges/approvals.

## Site & Asset Details

[ ] Company:

[ ] Site / Address:

[ ] Contact name and role:

[ ] Warehouse zone/area ID(s):

[ ] Approx. L x W x H (m) and volume (m3):

[ ] Setpoint and allowable range (deg C):

[ ] RH control target (if any):

[ ] Product types and label storage requirements:

[ ] Preferred season/date window (summer/winter/both):

[ ] Current monitoring system (brand/model):

[ ] Door/Pallet locations and usage patterns, is there a layout drawing:

[ ] Backup power/UPS and alarm response:

[ ] Access, permits, working at height, cold exposure:

[ ] Blackout dates/shift patterns/escort requirements:

## Pre-study checks (tick or comment)

[ ] Current floor plan and racking layout available

[ ] HVAC setpoints/airflow/filters documented

[ ] Time synchronisation method agreed

[ ] Door-opening and power-interruption tests agreed

[ ] Seasonal mapping strategy agreed (if applicable)

[ ] Internal approvals scheduled

Note: Acceptance criteria must align to product labels and risk assessment. This checklist does not replace a protocol.