# Scitech - EKIUM Stability Room and Chamber Mapping Readiness Checklist

Complete prior to study.

Use for scoping and pre-study alignment (dimensions, setpoint/range, products/label claims, loads, door use, monitoring, power/alarms, safety/permits).

Includes pre-study tick-boxes for drawings/HVAC/calibration/data integrity/challenges/approvals.

## Site & Asset Details

[ ] Company:

[ ] Site / Address:

[ ] Contact name, role and mobile number:

[ ] Manufacturer/Model(s):

[ ] Approx. L x W x H (m) and volume (m3):

[ ] Setpoint and Tolerance (deg C):

[ ] Product types and label storage requirements:

[ ] Number of compressors/defrost function:

[ ] Current monitoring system (Manufacturer/model):

[ ] Empty/load patterns:

[ ] Backup power/UPS and alarm response:

## Pre-study checks (tick or comment)

[ ] Current floor plan and/or racking layout available

[ ] Time synchronisation method confirmed

[ [ ] Door-opening and power-interruption tests agreed

Note: Acceptance criteria must align to product labels and risk assessment. This checklist does not replace a protocol.